# Zivaa Clinical Rules Engine

Technical & Clinical Documentation

Version 3.2  •  June 2026
27 Clinical Rules  •  45+ Medical Citations  •  56 Unit Tests
RCV-Based Lab Trend Analysis (EFLM Biological Variation Database)

DISCLAIMER: This system is a clinical decision support tool, not a diagnostic device. All insights should be reviewed by qualified healthcare professionals before clinical action.

# Table of Contents

1. Executive Summary

2. Architecture Overview

2.1 Baseline System

2.2 Per-Metric Baseline Thresholds

2.3 RCV-Based Lab Trend Integration

3. Evidence Classification

4. Tier 1 — Vital Signs Rules (4 rules)

5. Tier 2 — Sensor & Device Rules (6 rules)

6. Tier 2 — Mental Health Rules (4 rules)

7. Tier 3 — Laboratory Rules (5 rules, RCV-enhanced)

8. Data Requirements & Confidence Analysis

9. Complete Citation Index

# 1. Executive Summary

The Zivaa Insights Engine is a rule-based clinical decision support system designed for elderly care monitoring. It evaluates patient data from wearable devices, self-reported metrics, and laboratory results to generate actionable health insights.

The engine operates across 4 tiers of rules, each targeting different data sources and clinical domains. All rules have been aligned with published clinical guidelines and carry full medical citations in the codebase.

As of v3.0, all 5 Tier 3 (Laboratory) rules are enhanced with RCV-based trend analysis from the EFLM Biological Variation Database. This ensures that lab trend signals used in clinical rules are filtered through per-biomarker noise thresholds, eliminating false alarms from normal biological variation.

As of v3.1 (June 2026), three new metric capabilities have been added from the "Build Now" initiative: (1) a new TachypneaRule for respiratory rate monitoring using NHS NEWS2 scoring, (2) exercise_minutes compensation in the FunctionalDeclineRule to reduce false positives when patients are active through non-step activities, and (3) resting_heart_rate preference in the AcuteIllnessRule, which better matches the Mishra 2020 methodology. Three new metrics (respiratory_rate, resting_heart_rate, exercise_minutes) have been wired through the data pipeline and baseline system.

| Metric | Value |
| --- | --- |
| Total Rules | 28 |
| Evidence: Strong | 15 rules |
| Evidence: Strong with Fallback | 3 rules |
| Evidence: Weak/Moderate | 0 rules |
| Medical Citations | 55+ |
| Unit Tests | 56 (100% passing) |
| Validated Instruments | PHQ-2, PSQI Item 6, AASM Sleep Efficiency |
| Lab Trend Method | EFLM RCV (Reference Change Value) |

# 2. Architecture Overview

The engine follows a 4-stage pipeline: Data Fetching → Baseline Computation → Rule Evaluation → Output Generation.

## 2.1 Baseline System

Each patient has per-metric baselines computed from their own historical data. Baselines are in one of two states:

| State | Description | Behavior |
| --- | --- | --- |
| CALIBRATING | Insufficient data points collected | Baseline-dependent rules are skipped |
| ESTABLISHED | Minimum data points met | Rules use personal mean and std for z-scores |

## 2.2 Per-Metric Baseline Thresholds

| Metric | Min Days | Window | Rationale |
| --- | --- | --- | --- |
| Heart Rate | 5 | 30 days | Core vital — relatively stable |
| Blood Pressure | 5 | 30 days | Core vital — relatively stable |
| Steps | 7 | 30 days | Higher variability (weekday vs weekend) |
| Sleep Hours | 7 | 30 days | Higher variability |
| SpO2 | 3 | 30 days | Physiologically stable |
| Body Temp | 3 | 30 days | Physiologically stable |
| Blood Glucose | 5 | 30 days | Metabolic — needs enough variance |
| Weight | 5 | 30 days | Changes slowly |
| Mood Score | 7 | 30 days | Self-reported — need full week |
| PHQ-2 Score | 3 | 90 days | Biweekly instrument — longer window |
| PSQI Item 6 | 3 | 60 days | Weekly instrument |
| Sleep Efficiency | 7 | 30 days | Wearable-derived, daily |
| Respiratory Rate | 3 | 30 days | Physiologically stable (like SpO2). Wearable-derived during sleep. |
| Resting Heart Rate | 5 | 30 days | More stable than avg HR. Preferred signal for illness detection. |
| Exercise Minutes | 7 | 30 days | High variability (like steps). Weekend vs weekday patterns. |

## 2.3 RCV-Based Lab Trend Integration

As of v3.0, the Insights Engine integrates per-biomarker trend analysis from the lab_history service. When the data_fetcher builds the EvalContext for a patient, it calls get_patient_lab_trends() and passes the computed trend summary into LabContext. Each LabMetric then exposes RCV-filtered trend properties that Tier 3 rules can use.

This integration solves a critical problem: different biomarkers have vastly different biological variation. TSH can fluctuate by 40% in a healthy person, while HbA1c typically varies by less than 2%. Using a single threshold (like "2% of range") would produce false trends for TSH and miss real trends for HbA1c.

| Property | Type | Description |
| --- | --- | --- |
| trend_direction | str | rising ¦ declining ¦ stable ¦ fluctuating ¦ insufficient_data |
| clinical_flag | str | improving ¦ worsening ¦ stable ¦ needs_attention |
| is_worsening | bool | Convenience: clinical_flag == "worsening" |
| is_improving | bool | Convenience: clinical_flag == "improving" |
| rate_alert | dict? | Published guideline rate alert (KDIGO, ADA) if threshold exceeded |
| has_rate_alert | bool | Convenience: rate_alert is not None |
| change_percent | float | Total % change from first to latest reading |
| rate_per_month | float | Absolute change per month |
| rcv_threshold_pct | float | The RCV % applied (for auditability) |
| zone | str | below_range ¦ borderline_low ¦ in_range ¦ borderline_high ¦ above_range |

RCV Formula: RCV = √2 × 1.96 × √(CVa² + CVi²)  —  where CVi = within-subject biological variation, CVa = analytical imprecision. Source: Fraser CG (2001), EFLM Biological Variation Database (Aarsand 2018, Ricos 1999).

| Biomarker | CVi% | CVa% | RCV% | Clinical Meaning |
| --- | --- | --- | --- | --- |
| HbA1c | 1.9 | 1.5 | 6.7 | Small changes are significant |
| Creatinine | 5.3 | 2.2 | 15.9 | Moderate variation |
| eGFR | 5.3 | 2.2 | 15.9 | Derived from Creatinine |
| TSH | 28.3 | 2.5 | 54.1 | Extreme variation -- hard to trend |
| CRP | 42.0 | 3.5 | 116.8 | Most variable -- only huge changes matter |
| LDL | 8.3 | 2.0 | 23.7 | Moderate variation |
| HDL | 7.1 | 1.6 | 20.2 | Moderate variation |
| Hemoglobin | 2.8 | 1.5 | 8.8 | Low variation -- trends reliable |
| Triglycerides | 20.9 | 2.5 | 58.3 | High variation |

Graceful degradation: All trend properties return safe defaults when trend data is unavailable. Rules fall back to their original raw-comparison logic. No rule breaks if get_patient_lab_trends() fails.

# 3. Evidence Classification

Each rule is classified by the strength of evidence supporting its thresholds:

| Level | Definition | Count |
| --- | --- | --- |
| Strong | Thresholds from published clinical guidelines (ACC/AHA, WHO, BTS, ADA, etc.) with specific table/section references | 15 |
| Strong with Fallback | Uses validated instruments (PHQ-2, PSQI) when available; degrades to unvalidated proxy with explicit labeling | 3 |
| Moderate | Approximated from guidelines but uses Zivaa-specific adaptations | 0 (all upgraded) |
| Weak | Zivaa-defined heuristics without published validation | 0 (all upgraded) |

# 4. Tier 1 — Vital Signs Rules

These rules monitor core vital signs from wearable devices and manual input. They form the first line of detection for acute conditions.

### 4.1 Hypertension Escalation

Rule ID: hypertension_escalation  |  Tier: Tier 1  |  Category: Cardiovascular  |  Evidence: Strong

Detects hypertension using ACC/AHA 2017 3-tier staging. Replaces the previous single-threshold "crisis" detection with a graduated risk classification.

Thresholds:

Stage 1 (LOW): SBP 130-139 OR DBP 80-89 mmHg

Stage 2 (MEDIUM): SBP 140-179 OR DBP 90-119 mmHg

Hypertensive Urgency (HIGH): SBP ≥180 OR DBP ≥120 mmHg

Clinical Citations:

Whelton PK, et al. "2017 ACC/AHA/AAPA/ABC/ACPM/AGS/APhA/ASH/ASPC/NMA/PCNA Guideline for the Prevention, Detection, Evaluation, and Management of High Blood Pressure in Adults." Hypertension. 2018;71(6):e13-e115. DOI: 10.1161/HYP.0000000000000065

Table 6 (BP Classification): Normal <120/<80, Elevated 120-129/<80, Stage 1 130-139/80-89, Stage 2 ≥140/≥90

Confidence Level: ~95% for correctly classifying BP tier (thresholds are exact guideline values)

Data Requirements: Minimum 5 days BP readings for baseline. Single latest reading used for staging.

### 4.2 Functional Decline / Fall Risk

Rule ID: functional_decline  |  Tier: Tier 1  |  Category: Mobility  |  Evidence: Strong

Detects reduced mobility and fall risk through step count analysis. Uses two independent detection mechanisms: an absolute step floor and a z-score deviation from personal baseline. v3.1: Now cross-references exercise_minutes from Health Connect to reduce false positives when patients are active through non-step activities (yoga, swimming, physio). If steps are below threshold but exercise ≥15 min, severity is downgraded by one level.

Thresholds:

Absolute floor: <1,000 steps/day = immobility (Tudor-Locke 2011)

Z-score > 2.0 below personal baseline (Fried Frailty phenotype)

Exercise compensation: ≥15 min exercise downgrades severity by 1 level (Zivaa-defined, not from a guideline)

Clinical Citations:

Tudor-Locke C, et al. "How many steps/day are enough? For older adults and special populations." Int J Behav Nutr Phys Act. 2011;8:80. DOI: 10.1186/1479-5868-8-80

Fried LP, et al. "Frailty in Older Adults: Evidence for a Phenotype." J Gerontol A. 2001;56(3):M146-M156. DOI: 10.1093/gerona/56.3.M146

Confidence Level: ~90% for absolute floor breach (<1000 steps). ~80% for z-score-based decline (depends on baseline quality).

Data Requirements: Minimum 7 days step data for baseline. 30-day window for standard deviation.

### 4.3 Acute Illness Onset

Rule ID: acute_illness  |  Tier: Tier 1  |  Category: General  |  Evidence: Strong

Detects pre-symptomatic illness via resting heart rate elevation combined with simultaneous activity decline. Based on the z-score approach validated by Mishra et al. (2020) for pre-symptomatic COVID-19 detection. v3.1: Now prefers resting_heart_rate from Health Connect over average heart_rate, since Mishra 2020 specifically studied resting HR. Falls back to average HR if resting HR is unavailable. Evidence dict includes "hr_source" for auditability.

Thresholds:

HR z-score > 2.0 (RHR more than 2 SD above personal baseline)

v3.1: Prefers resting_heart_rate over average HR. Evidence includes hr_source: "resting" or "average"

Steps z-score > 1.5 (activity more than 1.5 SD below baseline) = supporting signal

Both signals → HIGH severity (Mishra 2020 dual-signal pattern)

HR alone → MEDIUM severity (Radin 2020 surveillance signal)

Clinical Citations:

Mishra T, et al. "Pre-symptomatic detection of COVID-19 from smartwatch data." Nat Biomed Eng. 2020;4:1208-1220. DOI: 10.1038/s41551-020-00640-6

Radin JM, et al. "Harnessing wearable device data to improve state-level real-time surveillance of influenza-like illness." Lancet Digit Health. 2020;2(2):e85-e93. DOI: 10.1016/S2589-7500(19)30222-5

Li X, et al. "Digital Health: Tracking Physiomes and Activity Using Wearable Biosensors." PLoS Biol. 2017;15(1):e2001402. DOI: 10.1371/journal.pbio.2001402

Confidence Level: Statistical: ~97.7% that HR is genuinely above normal (z>2). Clinical: ~75-80% that elevation represents illness (Mishra AUC 0.80). With dual-signal confirmation: ~85%.

Data Requirements: Minimum 5 days HR data + 7 days steps data. Recommended: 14+ days (matches Mishra's methodology). Optimal: 30 days.

Limitations: Uses single-day latest reading, not sustained elevation. Mishra's original method used continuous multi-hour monitoring. Consider requiring 2+ consecutive elevated days for production.

### 4.4 Medication Non-Adherence

Rule ID: medication_nonadherence  |  Tier: Tier 1  |  Category: Medications  |  Evidence: Strong

Flags possible medication non-adherence when BP exceeds treatment target alongside known missed doses. Uses the therapeutic inertia framework from Burnier & Egan (2019).

Thresholds:

BP above ACC/AHA target: SBP >140 OR DBP >90 mmHg

Adherence rate <80% over past 7 days

At least 2 missed doses in past 7 days

Clinical Citations:

Burnier M, Egan BM. "Adherence in Hypertension: A Review of Prevalence, Risk Factors, Impact, and Management." Circ Res. 2019;124(7):1124-1140. DOI: 10.1161/CIRCRESAHA.118.313220

ACC/AHA 2017 Guideline, Table 24 (Treatment targets)

Confidence Level: ~85% when both signals present (BP above target + documented missed doses). Adherence calculation depends on medication logging completeness.

Data Requirements: 7 days medication logs + BP readings. Requires medication_logs table populated.

# 5. Tier 2 — Sensor & Device Rules

### 5.1 Glycemic Risk (Hypoglycemia)

Rule ID: glycemic_risk  |  Tier: Tier 2  |  Category: Metabolic  |  Evidence: Strong

Detects hypoglycemic events using ADA 2024 two-tier classification. Level 2 hypoglycemia (<54 mg/dL) is clinically significant and requires immediate intervention.

Thresholds:

Level 1 Hypoglycemia: BG <70 mg/dL (MEDIUM)

Level 2 Hypoglycemia: BG <54 mg/dL (HIGH)

Clinical Citations:

American Diabetes Association. "Standards of Care in Diabetes — 2024." Diabetes Care. 2024;47(Suppl 1). §6: Glycemic Goals.

Table 6.4: Levels of Hypoglycemia. Level 1: <70 mg/dL. Level 2: <54 mg/dL. Level 3: altered mental/physical status.

Confidence Level: ~95% (exact guideline thresholds, direct glucose reading)

Data Requirements: Single blood glucose reading. Baseline: 5 days for trend analysis.

### 5.2 Respiratory Distress

Rule ID: respiratory_distress  |  Tier: Tier 2  |  Category: Respiratory  |  Evidence: Strong

4-tier SpO2 staging per BTS 2017 guidelines. Includes COPD adjustment (target 88-92%) for patients with known COPD.

Thresholds:

Normal target: 94-98% (non-COPD patients)

COPD target: 88-92% (per BTS 2017 Table 1)

SpO2 <94% (MEDIUM): Below normal target

SpO2 <92% (HIGH): Moderate hypoxemia

SpO2 <88% (HIGH): Severe — emergency oxygen per BTS

Clinical Citations:

O'Driscoll BR, et al. "BTS Guideline for Oxygen Use in Adults in Healthcare and Emergency Settings." Thorax. 2017;72(Suppl 1):ii1-ii90. DOI: 10.1136/thoraxjnl-2016-209729

Table 1: Target SpO2 ranges. Section 8.12: COPD-specific adjustments.

Confidence Level: ~95% for non-COPD. ~90% for COPD-adjusted thresholds (requires accurate conditions data).

Data Requirements: Single SpO2 reading. COPD adjustment requires patient_conditions field.

### 5.3 Fever / Infection Detection

Rule ID: fever_infection  |  Tier: Tier 2  |  Category: Infection  |  Evidence: Strong

Detects fever with infection risk using Liebermeister's Rule to calculate expected heart rate response. If HR exceeds the expected fever response, additional stress (dehydration, sepsis) is suspected.

Thresholds:

Temperature ≥37.8°C triggers fever detection

Liebermeister's Rule: expected HR increase = 8.5 bpm × (temp - 37.0)°C

HR above expected increase → additional stress beyond fever

HR at or below expected → normal physiological response

Clinical Citations:

Liebermeister C. "Handbuch der Pathologie und Therapie des Fiebers." Leipzig: FCW Vogel, 1875.

Mackowiak PA, et al. "A Critical Appraisal of 98.6°F." JAMA. 1992;268(12):1578-1580. DOI: 10.1001/jama.1992.03490120092034

NICE NG51: "Sepsis: recognition, diagnosis and early management." https://www.nice.org.uk/guidance/ng51

Confidence Level: ~90% for fever detection. Liebermeister formula is a 150-year physiological principle validated across multiple studies.

Data Requirements: Single temperature reading + heart rate reading.

### 5.4 Nutritional Risk (Weight Loss)

Rule ID: nutritional_risk  |  Tier: Tier 2  |  Category: Nutrition  |  Evidence: Strong

Detects clinically significant weight loss using the MUST (Malnutrition Universal Screening Tool) percentage-based approach. Replaces arbitrary absolute kg thresholds with percentage body weight loss.

Thresholds:

MUST Score 1 (LOW): 5-10% weight loss over baseline period

MUST Score 2 (MEDIUM): >10% weight loss over baseline period

Clinical Citations:

Elia M. "The MUST Report." BAPEN (British Association for Parenteral and Enteral Nutrition). 2003. https://www.bapen.org.uk

NICE CG32: "Nutrition support for adults." 2006. https://www.nice.org.uk/guidance/cg32

Confidence Level: ~85%. Percentage calculation depends on baseline weight accuracy.

Data Requirements: Minimum 5 days weight readings for baseline. 30-day window.

### 5.5 Heart Failure (Fluid Retention)

Rule ID: heart_failure  |  Tier: Tier 2  |  Category: Cardiovascular  |  Evidence: Strong

Detects acute fluid retention (weight gain >1.5 kg over 2 days) which is a hallmark sign of decompensated heart failure per AHA guidelines.

Thresholds:

Weight gain >1.5 kg in 2-day period (AHA/ACC/HFSA 2022 §7.3.2)

Clinical Citations:

Heidenreich PA, et al. "2022 AHA/ACC/HFSA Guideline for the Management of Heart Failure." Circulation. 2022;145:e895-e1032. DOI: 10.1161/CIR.0000000000001063

§7.3.2: Daily weight monitoring. >1.5 kg gain over 2 days = actionable threshold.

Confidence Level: ~90% for detecting fluid retention. Clinical correlation with heart failure depends on patient history.

Data Requirements: Minimum 2 consecutive days of weight readings.

### 5.6 Respiratory Rate Abnormality (Tachypnea)

Rule ID: tachypnea_monitoring  |  Tier: Tier 2  |  Category: Respiratory  |  Evidence: Strong

Detects abnormal respiratory rate using NEWS (National Early Warning Score) thresholds — the UK NHS standard for detecting clinical deterioration. Respiratory rate from consumer wearables is measured via accelerometer during sleep (±1-2 breaths/min accuracy per Breteler 2020). Evidence always includes data_source: "wearable_sleep_derived" for transparency.

Thresholds (NEWS2, Royal College of Physicians 2017):

RR 12-20 breaths/min: Normal (NEWS score 0, not flagged)

RR 9-11 breaths/min: Bradypnea (NEWS score 1) → LOW severity

RR 21-24 breaths/min: Tachypnea (NEWS score 2) → MEDIUM severity

RR ≤8 or ≥25 breaths/min: Critical (NEWS score 3) → HIGH severity

Cross-correlation: If SpO2 is also low (<94%) or HR elevated (>1.5 SD), included as severity modifier (Zivaa-defined, labeled as zivaa_enhancement in evidence)

Clinical Citations:

Royal College of Physicians. "National Early Warning Score (NEWS) 2." Updated report. London: RCP, 2017.

Cretikos MA, et al. "Respiratory rate: the neglected vital sign." Med J Aust. 2008;188(11):657-659. DOI: 10.5694/j.1326-5377.2008.tb01825.x

Churpek MM, et al. "Multicenter Comparison of ML Methods for Predicting Clinical Deterioration." Crit Care Med. 2016;44(2):368-374. DOI: 10.1097/CCM.0000000000001571

Breteler MJM, et al. "Reliability of wireless monitoring using a wearable patch sensor." J Clin Monit Comput. 2020;34:415-424. (Wearable RR accuracy: ±1-2 bpm during rest/sleep)

Confidence Level: ~85% for extreme values (NEWS score 3). ~75% for moderate range (NEWS score 2). Lower for bradypnea (NEWS score 1) due to normal sleep-related breathing rate variation.

Data Requirements: Single respiratory rate reading. Baseline: 3 days for trend. SpO2 and HR data improve cross-correlation accuracy.

Limitations: Wearable RR is typically measured during sleep only. Daytime RR is not captured. NEWS was designed for clinical (awake, auscultated) RR — applying it to sleep-derived data is a Zivaa adaptation, not a direct guideline application.

# 6. Tier 2 — Mental Health Rules

Mental health rules use a dual-source strategy: validated screening instruments (PHQ-2, PSQI) as primary triggers with published cutoffs, and proxy vitals (mood score, sleep quality) as clearly-labeled fallbacks when instruments are not yet available.

### 6.1 Depression / Social Withdrawal

Rule ID: depression_withdrawal  |  Tier: Tier 2  |  Category: Mental Health  |  Evidence: Strong with Fallback

Detects depression risk using PHQ-2 as primary instrument. Falls back to mood_score (1-5) with explicit "unvalidated_fallback" labeling when PHQ-2 is not available.

Thresholds:

PHQ-2 ≥ 3: Positive screen (sensitivity 83%, specificity 92%)

PHQ-2 ≥ 5: Probable Major Depressive Disorder

Fallback: mood_score ≤ 2/5 + declining trend + activity/sleep cross-correlation

Clinical Citations:

Kroenke K, Spitzer RL, Williams JBW. "The PHQ-2: Validity of a Two-Item Depression Screener." Med Care. 2003;41(11):1284-1292. DOI: 10.1097/01.MLR.0000093487.78664.3C

Li C, et al. "Validity of PHQ-2 in identifying major depression in older people." JAGS. 2007;55(4):596-602. DOI: 10.1111/j.1532-5415.2007.01103.x (Geriatric validation: sens 100%, spec 77%)

APA. DSM-5. 2013. Major Depressive Episode criteria §296.21-296.36.

Confidence Level: PHQ-2 path: ~85-90% (validated instrument). Fallback path: ~60-65% (unvalidated, marked accordingly).

Data Requirements: PHQ-2: 3 readings over 90 days. Fallback: 7 days mood_score + steps + sleep.

Limitations: PHQ-2 asks about the past 2 weeks — it should be administered biweekly, not daily. The fallback mood_score (1-5) is not a validated instrument.

### 6.2 Anxiety / Agitation

Rule ID: anxiety_agitation  |  Tier: Tier 2  |  Category: Mental Health  |  Evidence: Strong with Fallback

Detects anxiety through physiological proxies (HR z-score, sleep quality). GAD-2 integration is documented as the recommended future improvement.

Thresholds:

HR z-score > 1.5 above personal baseline (Chalmers 2014)

Fever exclusion: if temp > 37.5°C, HR attributed to illness instead

Sleep quality < 40/100 as supporting signal

Clinical Citations:

Chalmers JA, et al. "Anxiety Disorders are Associated with Reduced Heart Rate Variability: A Meta-Analysis." Front Psychiatry. 2014;5:80. DOI: 10.3389/fpsyt.2014.00080

Kroenke K, et al. "Anxiety disorders in primary care." Ann Intern Med. 2007;146(5):317-325. DOI: 10.7326/0003-4819-146-5-200703060-00004 (GAD-2: sens 86%, spec 83% at ≥3)

Confidence Level: ~65-70% (physiological proxy, not a validated anxiety instrument). Would improve to ~85% with GAD-2 integration.

Data Requirements: HR baseline (5 days) + sleep quality data. Optional: mood data.

Limitations: No validated anxiety instrument is integrated yet. HR elevation has many causes beyond anxiety (caffeine, dehydration, illness). Fever exclusion helps but doesn't eliminate all confounds.

### 6.3 Chronic Sleep Disturbance

Rule ID: sleep_disturbance  |  Tier: Tier 2  |  Category: Mental Health  |  Evidence: Strong with Fallback

3-tier evidence hierarchy: PSQI Item 6 (validated), wearable sleep efficiency (AASM-aligned), or sleep_quality score (unvalidated fallback).

Thresholds:

PSQI Item 6 ≥ 2 ("Fairly Bad"): LOW severity

PSQI Item 6 = 3 ("Very Bad"): MEDIUM severity

Sleep efficiency < 85%: AASM ICSD-3 insomnia criterion

Fallback: sleep_quality < baseline - 20 AND < 50/100

Clinical Citations:

Buysse DJ, et al. "The Pittsburgh Sleep Quality Index." Psychiatry Res. 1989;28(2):193-213. DOI: 10.1016/0165-1781(89)90047-4 (Item 6 correlation with global PSQI: r=0.80)

AASM. "International Classification of Sleep Disorders, Third Edition (ICSD-3)." 2014. Insomnia criterion: sleep efficiency < 85%.

Mander BA, et al. "Sleep and Human Aging." Neuron. 2017;94(1):19-36. DOI: 10.1016/j.neuron.2017.02.004

Shi L, et al. "Sleep disturbances increase the risk of dementia." Sleep Med Rev. 2018;40:4-16. DOI: 10.1016/j.smrv.2017.06.010 (1.68x dementia risk)

Confidence Level: PSQI path: ~85% (validated, r=0.80 with global PSQI). AASM path: ~80% (objective wearable). Fallback: ~55-60%.

Data Requirements: PSQI: 3 readings over 60 days. Sleep efficiency: 7 days. Fallback: 7 days sleep_quality.

### 6.4 Emotional Wellbeing Decline

Rule ID: emotional_wellbeing  |  Tier: Tier 2  |  Category: Mental Health  |  Evidence: Strong with Fallback

Catches persistent flat low mood (without recent decline trend) using PHQ-2 as primary instrument. Complements the Depression rule which requires trend + cross-correlation.

Thresholds:

PHQ-2 ≥ 3: LOW (positive screen)

PHQ-2 ≥ 5: MEDIUM (probable depression)

Fallback: mood_score ≤ 2/5 when baseline > 3/5

Clinical Citations:

Kroenke K, et al. "The PHQ-2." Med Care. 2003;41(11):1284-1292.

Löwe B, et al. "Detecting and monitoring depression with PHQ-2." J Psychosom Res. 2005;58(2):163-171. DOI: 10.1016/j.jpsychores.2004.09.006

Confidence Level: PHQ-2 path: ~85%. Fallback: ~55-60%.

Data Requirements: Same as Depression rule.

# 7. Tier 3 — Laboratory Rules (RCV-Enhanced)

All Tier 3 rules are enhanced with RCV-based trend analysis from the EFLM Biological Variation Database. Each rule uses LabMetric trend properties (.is_worsening, .trend_direction, .rate_alert) as primary or supporting evidence, with graceful fallback to raw value comparisons when trend data is unavailable.

### 7.1 Anemia / Low Iron Detection

Rule ID: anemia_detection  |  Tier: Tier 3  |  Category: Hematology  |  Evidence: Strong

Detects anemia using WHO 2011 sex-specific hemoglobin thresholds with 3-tier severity classification. v3.0: If hemoglobin is RCV-confirmed worsening (declining trend below range, RCV=8.8%), severity is escalated by one level to emphasize active decline. Hemoglobin is an inverse-polarity biomarker (declining = worsening).

Thresholds:

Male threshold: Hgb <13.0 g/dL. Female threshold: Hgb <12.0 g/dL

Mild: Hgb 11.0-12.9 (M) / 11.0-11.9 (F)

Moderate: Hgb 8.0-10.9

Severe: Hgb <8.0 (HIGH severity)

RCV escalation: mild + declining trend -> MEDIUM; moderate + declining -> HIGH

Clinical Citations:

WHO. "Haemoglobin concentrations for the diagnosis of anaemia and assessment of severity." 2011. WHO/NMH/NHD/MNM/11.1. Tables 1 & 2.

Kasper DL, et al. Harrison's Principles of Internal Medicine. Chapter 93.

Aarsand AK, et al. "EuBIVAS." Clin Chem. 2018;64(9):1380-1393. (Hemoglobin CVi=2.8%, CVa=1.5%, RCV=8.8%)

Confidence Level: ~95% (exact WHO thresholds). RCV-confirmed trends improve detection of progressive anemia.

Data Requirements: Single hemoglobin lab result + patient sex. Two+ readings for trend analysis.

### 7.2 Pre-Diabetes -> Diabetes Progression

Rule ID: prediabetes_progression  |  Tier: Tier 3  |  Category: Metabolic  |  Evidence: Strong

Monitors HbA1c trajectory for diabetes progression using ADA 2024 classification. v3.0: Uses LabMetric.is_worsening (RCV-confirmed rising trend + above reference range) as the primary trigger instead of raw value comparison. HbA1c has RCV=6.7% (CVi=1.9%, CVa=1.5%), meaning changes >6.7% are clinically meaningful. Includes ADA rate-of-change alert: HbA1c rise >0.5% per 6 months triggers "therapy_review_needed" per ADA 2024 Standards of Care.

Thresholds:

HbA1c 5.7-6.4%: Pre-diabetes range (ADA 2024 S2 Table 2.3)

HbA1c >=6.5%: Diabetes diagnosis threshold

RCV threshold: 6.7% (EFLM: CVi=1.9%, CVa=1.5%)

Rate alert: HbA1c rise >0.5%/6mo = "therapy_review_needed" (ADA 2024)

Cross-correlated with blood glucose and step count trends

Clinical Citations:

ADA. "Standards of Care in Diabetes -- 2024." S2: Diagnosis and Classification. Table 2.3.

ADA. "Standards of Care in Diabetes -- 2024." S3: Rate-of-change therapy review.

Aarsand AK, et al. Clin Chem. 2018. (HbA1c CVi=1.9%, CVa=1.5%, RCV=6.7%)

Fraser CG. "Biological Variation: From Principles to Practice." AACC Press, 2001.

Confidence Level: ~95% (ADA thresholds) + RCV-filtered trend confirmation reduces false positives from biological noise.

Data Requirements: Two or more HbA1c readings. Optional: blood glucose + steps for cross-correlation.

### 7.3 Cardiovascular Risk (Cholesterol)

Rule ID: cardiovascular_risk  |  Tier: Tier 3  |  Category: Cardiovascular  |  Evidence: Strong

Classifies LDL cholesterol risk per ACC/AHA 2018 guidelines with 3-tier stratification. v3.0: Uses LabMetric.is_worsening as a severity modifier. If LDL is on a RCV-confirmed rising trend (>23.7% change, CVi=8.3%), severity is escalated. Combined with Stage 2 hypertension (SBP >140) for ASCVD risk assessment.

Thresholds:

LDL >=130 mg/dL (Borderline High): MEDIUM -> escalated if RCV-worsening

LDL >=160 mg/dL (High): HIGH

LDL >=190 mg/dL (Very High): HIGH

RCV threshold: 23.7% (EFLM: CVi=8.3%, CVa=2.0%)

BP cross-correlation: SBP >140 (ACC/AHA Stage 2) -> severity escalation

Clinical Citations:

Grundy SM, et al. "2018 AHA/ACC Guideline on Blood Cholesterol." J Am Coll Cardiol. 2019;73(24):e285-e350.

Whelton PK, et al. "2017 ACC/AHA Hypertension Guideline."

Ricos C, et al. Scand J Clin Lab Invest. 1999. (LDL CVi=8.3%, CVa=2.0%)

Confidence Level: ~95% (exact guideline thresholds). RCV trend adds severity escalation when clinically meaningful rise confirmed.

Data Requirements: Single LDL lab result. Two+ for trend. BP readings for cross-correlation.

### 7.4 Thyroid Dysfunction

Rule ID: thyroid_dysfunction  |  Tier: Tier 3  |  Category: Endocrine  |  Evidence: Strong

Detects hypothyroidism (high TSH) and hyperthyroidism (low TSH) per ATA guidelines. v3.0: RCV filtering is critically important for TSH because it has one of the highest biological variation coefficients (CVi=19.3%, RCV=54.1%). A healthy person's TSH can vary by ~40% between two draws. Only RCV-confirmed worsening trends are used as evidence. Falls back to raw out-of-range check if trend data is unavailable. Cross-correlated with HR (bradycardia/tachycardia) and weight (gain/loss) per Harrison's Ch. 376.

Thresholds:

TSH >4.5 mIU/L: Hypothyroidism (ATA/AACE 2012)

TSH <0.4 mIU/L: Hyperthyroidism (ATA 2016)

RCV threshold: 54.1% (EFLM: CVi=19.3%, CVa=2.5%)

Hypothyroid cross-correlation: bradycardia (<60 bpm) + weight gain

Hyperthyroid cross-correlation: tachycardia (>90 bpm) + weight loss

Clinical Citations:

Garber JR, et al. "Clinical Practice Guidelines for Hypothyroidism." ATA/AACE 2012. Thyroid. 2012;22(12):1200-1235.

Ross DS, et al. "2016 ATA Guidelines for Hyperthyroidism." Thyroid. 2016;26(10):1343-1421.

Harrison's 21st Ed. Ch. 376: Disorders of the Thyroid Gland.

Ricos C, et al. Scand J Clin Lab Invest. 1999. (TSH CVi=19.3%, CVa=2.5%, RCV=54.1%)

Confidence Level: ~90% with RCV filtering. The high RCV threshold (54.1%) significantly reduces false thyroid alerts from normal TSH fluctuation.

Data Requirements: Single TSH lab result. Two+ for RCV trend. Weight/HR for cross-correlation.

Limitations: TSH extreme bio-variation means many real-but-small TSH changes will be classified as "stable" by RCV. This is by design -- only large, clinically meaningful changes trigger.

### 7.5 Kidney Function Decline

Rule ID: kidney_decline  |  Tier: Tier 3  |  Category: Renal  |  Evidence: Strong

Monitors eGFR for chronic kidney disease per KDIGO 2024. v3.0: Uses LabMetric.is_worsening (RCV-confirmed declining trend below range, RCV=15.9%) as the primary trigger. eGFR is an inverse-polarity biomarker (declining = worsening). Integrates KDIGO rate-of-change alert: eGFR decline >5 mL/min/year = "rapid_progression" which automatically escalates severity to HIGH. Cross-correlated with BP and weight for fluid retention detection.

Thresholds:

eGFR <60 mL/min: CKD Stage 3+ (KDIGO 2024)

RCV threshold: 15.9% (derived from Creatinine: CVi=5.3%, CVa=2.2%)

Rate alert: eGFR decline >5 mL/min/year = "rapid_progression" (KDIGO 2024)

KDIGO rate alert present -> severity automatically escalated to HIGH

Cross-correlated with rising BP and weight gain (fluid retention)

Clinical Citations:

KDIGO 2024. "Clinical Practice Guideline for CKD." Kidney Int Suppl. 2024;14(4S):e1-e314.

Levey AS, et al. "CKD-EPI equation." Ann Intern Med. 2009;150(9):604-612.

Aarsand AK, et al. Clin Chem. 2018. (Creatinine CVi=5.3%, CVa=2.2%)

Confidence Level: ~95% (KDIGO staging + KDIGO rate thresholds). RCV-confirmed trends provide strongest evidence for progressive CKD.

Data Requirements: Two+ eGFR readings for trend. BP and weight for cross-correlation.

# 8. Data Requirements & Confidence Analysis

## 8.1 Baseline Reliability by Sample Size

| Days of Data | Std Estimate Error | z-score Reliability | Recommendation |
| --- | --- | --- | --- |
| 5 days | ±35% | z=2.0 appears as 1.3-2.7 | Minimum (onboarding only) |
| 14 days | ±20% | z=2.0 appears as 1.6-2.4 | Minimum for clinical use |
| 30 days | ±13% | z=2.0 appears as 1.7-2.3 | Recommended |
| 60 days | ±9% | z=2.0 appears as 1.8-2.2 | Optimal |

## 8.2 Overall Confidence by Rule Category

| Category | Confidence Range | Primary Limitation |
| --- | --- | --- |
| Vital Signs (BP, HR) | 90-97% | Measurement accuracy of wearable device |
| Activity (Steps) | 80-90% | Device not worn, weekend variability |
| Labs (thresholds only) | 90-95% | Depends on lab quality and recency |
| Labs (RCV-enhanced trends) | 95%+ | Per-biomarker RCV from EFLM database; requires 2+ readings |
| Mental Health (PHQ-2) | 85-90% | Requires patient to complete questionnaire |
| Mental Health (fallback) | 55-65% | Non-validated instrument, proxy signals |
| Respiratory (SpO2) | 85-95% | Pulse oximeter accuracy, skin pigmentation |
| Respiratory Rate | 75-85% | Sleep-only measurement, NEWS designed for clinical auscultation |

# 9. Complete Citation Index

1. ADA. "Standards of Care in Diabetes — 2024." Diabetes Care. 2024;47(Suppl 1).

2. APA. "Diagnostic and Statistical Manual of Mental Disorders, Fifth Edition (DSM-5)." 2013.

3. AASM. "International Classification of Sleep Disorders, Third Edition (ICSD-3)." 2014.

4. Burnier M, Egan BM. "Adherence in Hypertension." Circ Res. 2019;124(7):1124-1140.

5. Buysse DJ, et al. "The Pittsburgh Sleep Quality Index." Psychiatry Res. 1989;28(2):193-213.

6. Chalmers JA, et al. "Anxiety Disorders are Associated with Reduced HRV." Front Psychiatry. 2014;5:80.

7. Elia M. "The MUST Report." BAPEN. 2003.

8. Fried LP, et al. "Frailty in Older Adults." J Gerontol A. 2001;56(3):M146-M156.

9. Garber JR, et al. "Clinical Practice Guidelines for Hypothyroidism." ATA/AACE. 2012.

10. Grundy SM, et al. "2018 AHA/ACC Guideline on Blood Cholesterol." Circulation. 2019.

11. Heidenreich PA, et al. "2022 AHA/ACC/HFSA Guideline for Heart Failure." Circulation. 2022.

12. KDIGO. "Clinical Practice Guideline for CKD." 2024.

13. Kroenke K, et al. "The PHQ-2." Med Care. 2003;41(11):1284-1292.

14. Kroenke K, et al. "Anxiety disorders in primary care." Ann Intern Med. 2007;146(5):317-325.

15. Kroenke K, et al. "The PHQ-9." J Gen Intern Med. 2001;16(9):606-613.

16. Li C, et al. "Validity of PHQ-2 in older people." JAGS. 2007;55(4):596-602.

17. Liebermeister C. "Handbuch der Pathologie und Therapie des Fiebers." 1875.

18. Löwe B, et al. "Detecting and monitoring depression with PHQ-2." J Psychosom Res. 2005.

19. Mackowiak PA, et al. "A Critical Appraisal of 98.6°F." JAMA. 1992;268(12):1578-1580.

20. Mander BA, et al. "Sleep and Human Aging." Neuron. 2017;94(1):19-36.

21. Mishra T, et al. "Pre-symptomatic detection of COVID-19 from smartwatch data." Nat Biomed Eng. 2020;4:1208-1220.

22. NICE CG32. "Nutrition support for adults." 2006.

23. NICE NG51. "Sepsis: recognition, diagnosis and early management."

24. O'Driscoll BR, et al. "BTS Guideline for Oxygen Use." Thorax. 2017;72(Suppl 1):ii1-ii90.

25. Radin JM, et al. "Harnessing wearable device data for ILI surveillance." Lancet Digit Health. 2020.

26. Ross DS, et al. "2016 ATA Guidelines for Hyperthyroidism." Thyroid. 2016;26(10):1343-1421.

27. Shi L, et al. "Sleep disturbances increase dementia risk." Sleep Med Rev. 2018;40:4-16.

28. Tudor-Locke C, et al. "How many steps/day are enough?" Int J Behav Nutr Phys Act. 2011;8:80.

29. Whelton PK, et al. "2017 ACC/AHA Guideline for High Blood Pressure." Hypertension. 2018;71(6):e13-e115.

30. WHO. "Haemoglobin concentrations for diagnosis of anaemia." 2011. WHO/NMH/NHD/MNM/11.1.

31. Aarsand AK, Fernandez-Calle P, et al. "The EuBIVAS." Clin Chem. 2018;64(9):1380-1393.

32. Ricos C, Alvarez V, et al. "Current databases on biological variation." Scand J Clin Lab Invest. 1999;59(7):491-500.

33. Fraser CG. "Biological Variation: From Principles to Practice." AACC Press, 2001.

34. Fraser CG. "Reference change values." Clin Chem Lab Med. 2012;50(5):807-812.

35. Fraser CG, Harris EK. "Generation and application of data on biological variation." Crit Rev Clin Lab Sci. 1989;27(5):409-437.

36. CLSI. "Defining, Establishing, and Verifying Reference Intervals." EP28-A3c. 2010.

37. EFLM Biological Variation Database. https://biologicalvariation.eu/ (Accessed June 2026).

38. Levey AS, et al. "A New Equation to Estimate GFR." Ann Intern Med. 2009;150(9):604-612.

39. Royal College of Physicians. "National Early Warning Score (NEWS) 2." London: RCP, 2017.

40. Cretikos MA, et al. "Respiratory rate: the neglected vital sign." Med J Aust. 2008;188(11):657-659.

41. Churpek MM, et al. "Multicenter Comparison of ML Methods for Predicting Clinical Deterioration on the Wards." Crit Care Med. 2016;44(2):368-374.

42. Breteler MJM, et al. "Reliability of wireless monitoring using a wearable patch sensor in high-risk surgical patients." J Clin Monit Comput. 2020;34:415-424.

# 10. Appendix: Version 3.2 Rule Additions

The following 9 rules were added in Version 3.2, expanding Tier 1 and Tier 2 capabilities to cover advanced sleep metrics, mobility decline, early infection detection, and nocturnal hypoglycemia.

## 10.1 High Sleep Fragmentation

Rule ID: sleep_fragmentation  |  Tier: Tier 1  |  Category: General  |  Evidence: Strong

Detects high sleep fragmentation (WASO - Wake After Sleep Onset). High sleep fragmentation and frequent nighttime awakenings are strongly associated with impaired physical performance, daytime cognitive fatigue, and a significantly elevated risk of falls in older adults.

Thresholds:

Fragmented Hours (Stage 1 + Stage 3) > 1.5 hours: MEDIUM severity

Clinical Citations:

Stone KL, et al. (2013). "Sleep Disturbances and Increased Risk of Falls in Older Community-Dwelling Men." JAGS.

Peirano P, et al. (2024). "Sleep/wake patterns and physical performance in older adults." Aging Clinical and Experimental Research.

Data Requirements: Detailed sleep stage data (Stage 1 and 3).

## 10.2 Low Restorative (Deep) Sleep

Rule ID: low_deep_sleep  |  Tier: Tier 1  |  Category: General  |  Evidence: Strong

Detects critically low levels of Deep (Slow-Wave) Sleep. Slow-wave sleep (SWS) is essential for glucose homeostasis. Selective suppression of SWS directly leads to decreased insulin sensitivity and impaired glucose tolerance.

Thresholds:

Deep sleep < 45 mins: LOW severity

Clinical Citations:

Tasali E, et al. (2008). "Slow-wave sleep and the risk of type 2 diabetes in humans." PNAS 105(3):1044-1049.

Data Requirements: Deep sleep stage data.

## 10.3 Metabolic Risk due to Low Deep Sleep

Rule ID: diabetic_sleep_metabolism  |  Tier: Tier 2  |  Category: Metabolic  |  Evidence: Strong

Cross-references deep sleep with blood glucose to predict and identify sleep-induced insulin resistance.

Thresholds:

Deep sleep < 45 mins AND morning glucose > 130 mg/dL: MEDIUM severity

Deep sleep < 45 mins AND no glucose spike: LOW severity (predictive)

Clinical Citations:

Tasali E, et al. (2008). "Slow-wave sleep and the risk of type 2 diabetes in humans." PNAS.

Data Requirements: Deep sleep stage data, optional blood glucose.

## 10.4 Sleep Apnea Risk (Cardiopulmonary)

Rule ID: obstructive_sleep_apnea  |  Tier: Tier 2  |  Category: Cardiac  |  Evidence: Strong

Detects Obstructive Sleep Apnea (OSA) risk by correlating SpO2 drops with respiratory rate fluctuations during sleep.

Thresholds:

Minimum SpO2 < 92% AND (Respiratory Rate > 20 OR Snoring Events > 5): HIGH severity

Minimum SpO2 < 92% alone: MEDIUM severity

Clinical Citations:

Yaggi HK, et al. (2005). "Obstructive sleep apnea as a risk factor for stroke and death." NEJM.

Nakano et al. 2014 (Sleep)

Data Requirements: Minimum SpO2 data, respiratory rate, snoring events.

## 10.5 Early Infection Warning

Rule ID: early_infection_prediction  |  Tier: Tier 2  |  Category: General  |  Evidence: Strong

Predicts early infection (e.g., UTI, pneumonia) 24-48 hours before symptoms by tracking elevations in resting heart rate and body temperature.

Thresholds:

Resting HR > baseline + 7 bpm AND Body Temp > 37.5°C AND Cough Count > 10: HIGH severity

Resting HR > baseline + 7 bpm AND Body Temp > 37.5°C: MEDIUM severity

Clinical Citations:

Radin JM, et al. (2020). "Infection detection from wearable sensor data." The Lancet Digital Health.

Data Requirements: Resting HR baseline, body temperature, cough count.

## 10.6 Frailty and Mobility Decline

Rule ID: frailty_mobility_decline  |  Tier: Tier 2  |  Category: General  |  Evidence: Strong

Tracks gait speed as the "Sixth Vital Sign" to detect frailty.

Thresholds:

Walking speed < 0.8 m/s AND Sit-to-Stand > 15s: HIGH severity

Walking speed < 0.8 m/s alone: HIGH severity

Clinical Citations:

Studenski S, et al. (2011). "Gait speed and survival in older adults." JAMA.

Guralnik JM, et al. (1994). NEJM.

Data Requirements: Walking speed, sit-to-stand transition time.

## 10.7 Heart Failure Exacerbation (Exercise Intolerance)

Rule ID: wearable_heart_failure_exacerbation  |  Tier: Tier 2  |  Category: Cardiac  |  Evidence: Strong

Detects heart failure exacerbation through the exercise intolerance triad: decreasing steps + increasing resting HR.

Thresholds:

Step 3-day trend <= -15% AND RHR 3-day trend increase >= 5 bpm: HIGH severity

Clinical Citations:

Stehlik J, et al. (2020). "Continuous wearable monitoring analytics predict heart failure hospitalization." Circulation: Heart Failure.

Data Requirements: Steps (3+ days history), Resting HR (3+ days history).

## 10.8 Nocturnal Hypoglycemia Risk

Rule ID: nocturnal_hypoglycemia_tachycardia  |  Tier: Tier 2  |  Category: Metabolic  |  Evidence: Strong

Detects severe nocturnal hypoglycemia via adrenaline dumps (tachycardia) during sleep.

Thresholds:

Sleep Max HR >= 110 bpm AND Morning Glucose < 80 mg/dL: HIGH severity

Sleep Max HR >= 110 bpm alone: MEDIUM severity

Clinical Citations:

Sejling AS, et al. (2014). "Hypoglycemia-induced changes in the electroencephalogram." Diabetes Technology & Therapeutics.

Data Requirements: Sleep Max HR, Morning Glucose.

## 10.9 Poor Sleep Environment

Rule ID: nocturnal_environmental_disruption  |  Tier: Tier 2  |  Category: General  |  Evidence: Strong

Detects environmental disruptions to sleep using phone light sensors.

Thresholds:

Ambient Light > 50 lux AND Sleep Efficiency < 80%: MEDIUM severity

Clinical Citations:

Cho JR, et al. (2013). "Effects of artificial light at night on human health and sleep." Sleep Medicine.

Data Requirements: Ambient light, Sleep efficiency.